|  | PRODUCT REQUIREMENTS DOCUMENT |  |  |
| --- | --- | --- | --- |
| SBM Operations 24, Ave de Fontvieille P.O. Box 199 MC 98007 Monaco Cedex Tel +377 92 05 15 00 Fax +377 92 05 17 47 | PROJECT: |  |  |
|  | [Project Name] |  |  |
|  | [ID] |  | [Version] |
| DOCUMENT DESCRIPTION: |  |  |  |

| Status / Revision | Date (DD-MMM-YYYY) | No. of Pages | Written by | Checked by | Approved by | Approved by |
| --- | --- | --- | --- | --- | --- | --- |

| INFORMATION ON STATUS: P Preliminary for Information I Inter Discipline Checking C For Comments and Approval V Valid for Construction A Approved for Construction X “As Built” | CONFIDENTIALITY LEVEL: 1 INFORMATION ON CONFIDENTIALITY LEVEL: 1 Non-confidential 2 Restricted 3 Confidential 4 Trade Secrets |
| --- | --- |
| © Copyright SBM Offshore N.V. 2025 Copyright by SBM Offshore N.V. or any of its subsidiaries. This document is the property of SBM Offshore N.V. or any of its subsidiaries. This document or any part thereof is CONFIDENTIAL and may not be made known, copied, multiplied, or used in any other way without the permission of SBM Offshore N.V. or any of its subsidiaries. |  |

REVISION STATUS / SUMMARY OF CHANGES

| REVISION | REVISED CHAPTERS | REVISION DESCRIPTION | REASON FOR REVISION |
| --- | --- | --- | --- |

TABLE OF CONTENTS

1.	PURPOSE OF DOCUMENT	4

2.	REFERENCE DOCUMENTS	4

3.	ABBREVIATIONS AND DEFINITIONS	4

4.	CURRENT OVERVIEW & CONTEXT	4

5.	OBJECTIVES	4

6.	BUSINESS VALUE & DRIVERS	4

7.	PAIN POINTS	4

8.	ASSUMPTIONS & DEPENDENCIES	4

9.	CONSTRAINTS	5

10.	BUSINESS & FUNCTIONAL REQUIREMENTS	5

11.	NON-FUNCTIONAL REQUIREMENTS	5

# PURPOSE OF DOCUMENT

[This section explains why the document exists and what it aims to achieve. It should summarize the problem space, the scope of the product/solution, and how this document will be used throughout the project lifecycle.]

## 1.1 Problem Context

Flow measurement on offshore production facilities plays a critical role in operational control, production performance tracking, contractual compliance, and environmental emission monitoring. For units operating under Brazilian jurisdiction, the regulatory framework imposed by the ANP (Agência Nacional do Petróleo) — particularly through RTM 01/2013, Resolução ANP nº 18/2014, and Resolução ANP nº 52/2013 — demands rigorous, auditable management of the entire metering system.

The absence of a centralized tool exposes the organization to significant risks: non-compliance fines, contractual disputes with clients, and loss of operational visibility across a fleet of 10 FPSOs.

## 1.2 Product Scope

The Metering Management Tool (MMT) is a web-based application designed to manage the complete lifecycle of fiscal and operational metering systems aboard SBM Offshore's FPSO fleet in Brazil. The solution is structured around 12 functional modules:

## 1.3 Document Purpose

This PRD serves as the single source of truth for what the MMT must deliver and why.

Defines business context and value — regulatory, operational, and contractual drivers.

Specifies functional and non-functional requirements — capabilities and quality attributes.

Establishes traceability — linking requirements to drivers and acceptance criteria.

Captures assumptions, constraints, and dependencies — operating boundaries.

Serves as the contractual baseline — for contractor deliverable evaluation.

## 1.4 Intended Audience

| Role | Usage |
| --- | --- |
| Metering Lead / Metering Engineer | Validate requirements reflect operational reality |
| Product Owner / Business Analyst | Prioritize backlogs, trace features to business value |
| Development Team (Contractor) | Design and implement per stated requirements |
| QA / UAT Team | Develop test cases and acceptance criteria |
| SBM Management / Stakeholders | Assess PACE alignment and investment rationale |
| ANP Auditors (indirect) | Verify regulatory compliance support |

## 1.5 Document Lifecycle

This PRD is a living document maintained throughout the project lifecycle. The PRD complements — but does not replace — the detailed SRS to be delivered by the contractor.

# REFERENCE DOCUMENTS

[List all related documents, standards, frameworks, or guidelines that are relevant for this product. Include links or file locations when possible to ensure easy access.]

## 2.1 Regulatory & Legal

| Ref. | Document | Relevance |
| --- | --- | --- |
| [R1] | Resolução Conjunta ANP/INMETRO nº 1 — RTM 01/2013 | Primary metrological regulation |
| [R2] | Resolução ANP nº 18/2014 — Failure Notification | NFSM requirements, override procedures |
| [R3] | Resolução ANP nº 52/2013 — Sampling | Sampling frequencies, SLA timelines |
| [R4] | Resolução ANP nº 65/2014 — Data Exchange | XML formats for regulatory submission |
| [R5] | Ofício Circular ANP/NFP nº 01/2020 | RTM 01/2013 clarifications |
| [R6] | ANP/NFP nº 02/2020, 835/2020, 841/2021 | COVID-19 waivers |
| [R7] | Ofício Circular ANP/NFP nº 02/2021 | Resolução 18 clarifications |
| [R8] | Ofício ANP/NFP nº 906/2021 | Offloading XML format |

## 2.2 International Standards

| Ref. | Document | Relevance |
| --- | --- | --- |
| [S1] | ISO 10012:2003 — Measurement management systems | Metrological confirmation framework |
| [S2] | ISO 5167 — Fluid flow by pressure differential | Orifice plate/DP calculations |

## 2.3 Project Documents

| Ref. | Document |
| --- | --- |
| [P1] | Functional Specification (IS93502, OOSDOMPF550001, Rev. C1) |
| [P2] | Request for Proposal for Metering Application (Feb 2025) |
| [P3] | Product Requirements Document Template |
| [P4] | MMT Modules Description |
| [P5] | All Periodic Analyses — Sampling SLA Matrix |
| [P6] | Sampling Plan |
| [P7] | Metering Point + Sample Point Configuration — CDI |
| [P8] | MMT Presentation to PACE (Jan 2026) |

## 2.4 Report Templates & Appendices

| Appendix | Template | Module |
| --- | --- | --- |
| A | Offshore Proving Certificate | M2 |
| B | Valve Leak Test Report | M2 |
| C | Sampler Test Report | M3 |
| D | Equipment Change Report | M1 |

# ABBREVIATIONS AND DEFINITIONS

[Provide a glossary of terms, acronyms, and domain-specific concepts used in this document. This ensures that all readers have a common understanding of the terminology.]

| Term/Acronym | Definition | Context/Notes | Owner |
| --- | --- | --- | --- |
| [Term/Acronym] | [Plain language meaning] | [What it means for SBM, why it matters, process where it is used] | [Role/Team] |

| Term/Acronym | Definition | Context/Notes | Owner |
| --- | --- | --- | --- |
| ANP | National Petroleum Agency | Brazilian regulatory body overseeing oil and gas measurement | Regulatory |
| API | Application Programming Interface | All MMT functionalities exposed via REST APIs | Development |
| BSW | Basic Sediment and Water | Water/sediment percentage in crude samples | ME |
| CA | Critical Analysis | Automated report evaluation (2-sigma check) | ME |
| CRO | Chromatography (Cromatografia) | Gas composition analysis | Laboratory/ME |
| CT | Custody Transfer | Highest regulatory scrutiny classification | ML |
| FC | Flow Computer | Calculates flow rates from sensor inputs | MT |
| FPSO | Floating Production, Storage and Offloading | Offshore vessel; top of asset hierarchy | Operations |
| IFS | CMMS — Maintenance Software | Enterprise system for spare parts integration | IT |
| MA | Metering Analyst | Onshore: data analysis, compliance reporting | Metering Team |
| ME | Metering Engineer | Onshore: calibration planning, certificate validation, UC | Metering Team |
| ML | Metering Lead | Fleet-wide compliance oversight | Metering Team |
| MMT | Metering Management Tool | The application specified in this PRD | Product Owner |
| MT | Metering Technician | Offshore: calibration execution, sample collection | Metering Team |
| NFSM | Mismeasurement Notification | Mandatory ANP notification on measurement failure | ME |
| PVT | Pressure-Volume-Temperature | Fluid properties analysis | Laboratory/ME |
| RTM | Metrological Technical Regulation | ANP/INMETRO regulation RTM 01/2013 | Regulatory |
| SLA | Service Level Agreement | Time-based targets per workflow phase | ML |
| SRS | Software Requirements Specification | Detailed spec by contractor | Development |
| UAT | User Acceptance Testing | Formal validation by SBM end users | QA |
| UC | Uncertainty Calculation | Measurement uncertainty determination | ME |

## 3.2 Domain Definitions

| Term | Definition |
| --- | --- |
| Metrological Confirmation | Set of operations to ensure equipment conforms to requirements — calibration, verification, adjustment, repair, recalibration, sealing (per ISO 10012:2003). |
| Critical Analysis (CA) | Automated evaluation against acceptance criteria and historical data using statistical rules (e.g., 2-sigma). Flags as Approved or Reproved. |
| Tag (Instrument Tag) | Unique identifier of a physical location on the plant. Fixed address tied to P and ID. |
| Serial Number | Unique identifier of a physical device. Certificates issued to serial numbers. |
| Emergency Sample | Unscheduled sample triggered on reproval: MIN(3 business days after emission, next periodic date). |
| SLA Matrix | Config table: Classification x Analysis Type x Location to time targets per phase. |
| Override | Temporary FC reading replacement during calibration, per Resolucao no 18/2014. |
| Offloading | Oil transfer from FPSO to shuttle tanker. Requires ANP XML submission. |

# CURRENT OVERVIEW & CONTEXT

[Describe the current environment, workflows, or systems in place. Outline the business or operational context and any key background information that frames the need for this product.]

## 4.1 Business Environment

SBM Offshore operates a fleet of FPSOs in Brazil under contracts with Petrobras and Shell. Flow measurement is critical across four fronts: operational control, production performance, contractual targets, and environmental emission monitoring.

Under Brazilian jurisdiction, the regulatory front is most critical. The ANP and INMETRO enforce tight metrological regulations through RTM 01/2013, with non-compliance resulting in significant financial exposure.

## 4.2 Operational Scale

| Metric | Value |
| --- | --- |
| FPSOs in operation | 9 (+ 3 new: Almirante Tamandaré, Alexandre de Gusmão, Sepetiba) |
| Regulated instruments | 2,900 |
| Flow computers | 212 |
| Critical parameters evaluated daily | > 1,000,000 |
| Daily reports and parameter files | > 400 |
| Calibration certificates per month | 360+ |
| ANP XML file submissions per month | 1,000+ |
| Gas/oil analysis reports per month | 80+ |
| Uncertainty calculations per month | 120+ |

## 4.3 Team Structure

| Role | Headcount | Location | Responsibilities |
| --- | --- | --- | --- |
| Metering Lead (ML) | 1 | Onshore | Fleet-wide compliance oversight, resource allocation, client interface |
| Metering Engineers (ME) | 7 | Onshore | Calibration planning, certificate validation, UC calculations, ANP reporting |
| Metering Analyst (MA) | 1 | Onshore | Data analysis, report consolidation, compliance monitoring |
| Metering Technicians (MT) | 22 | Offshore | Calibration execution, equipment installations, seal management, sample collection |

## 4.4 Current Information Flow (AS-IS)

Metering data flows between offshore and onshore through a predominantly manual, file-based process:

• File-based: Data exchanged through shared folders and email, no centralized database

• Spreadsheet-driven: Calibration schedules, sampling plans, and compliance tracking rely on Excel

• Fragmented tools: In-house scripts and standalone utilities handle specific tasks without integration

• No audit trail: Changes to data and configurations are not systematically logged

• Manual consolidation: Engineers spend significant time collecting, validating, and reformatting data

## 4.5 Manual Effort Baseline

| Frequency | Effort per FPSO | Activities |
| --- | --- | --- |
| Daily | ~2.5 hours | Consolidating files, saving reports, generating certificates, validating FC config |
| Weekly | ~3 hours | Compliance checks, schedule reviews, reporting |
| Monthly | ~6 hours | ANP submissions, audit preparation, trend analysis |
| Annual | ~1,100 hours | Total manual effort per FPSO |

With 9+ FPSOs, Region 1 dedicates approximately 10,000+ hours per year to manual metering management.

## 4.6 Regulatory Exposure

| Non-conformity | Fine per event (USD) |
| --- | --- |
| Serial number incorrectly changed | $30,000 |
| Incorrectly reported data | $28,000 |
| Incorrect flowmeter parametrization | $225,000 - $250,000 |
| Calibration completed after due date | $225,000 - $250,000 |
| Calibration results implemented late | $225,000 |
| Sampling completed after due date | $250,000 |
| Sampling report issued after due date | $225,000 |
| Sampling results implemented late | $250,000 |
| Operate equipment beyond limits | $250,000 |

### Historical Fine Exposure

| FPSO | Accumulated fines (USD) |
| --- | --- |
| Espirito Santo | $27,000,000 |
| Marlin Sul | $4,000,000 |
| Ilhabela | $3,600,000 |
| Capixaba | $1,000,000 |
| Paraty | $200,000 |
| Total | $35,800,000 |

Average: ~$2.5 million per year over 13 years.

### 2025 Near-Misses

| FPSO | Issue | Exposure (USD) |
| --- | --- | --- |
| CDM | Gas composition updated 6 hours after deadline | $120,000 - $1,000,000 |
| ATD | Flowmeter calibration curve update 3 days late | $225,000 |
| SEP | Prover calibration results updated 3 days late | $225,000 |
| CDS | Failure notification sent after 72-hour deadline | $30,000 |
| Total |  | Up to $1,480,000 |

## 4.7 Gap Summary

1. No centralized database — Data scattered across folders, spreadsheets, and local tools

2. No real-time SLA tracking — Deadline compliance monitored reactively

3. No automated critical analysis — Certificate and lab report validation performed manually

4. No integrated audit trail — Regulatory audits require manual reconstruction

5. No proactive alerting — Teams unaware of approaching deadlines until too late

6. No fleet-wide visibility — No consolidated compliance view across FPSOs

# OBJECTIVES

[Define the goals of the product initiative and how they align with the PACE program strategy. Objectives should be SMART (Specific, Measurable, Achievable, Relevant, Time-bound), while also aligned and traceable to the Business Value section (drivers, outcomes, and success metrics).]

## 5.1 North Star

Achieve zero ANP metering fines across the SBM Offshore Brazilian fleet by providing a centralized, regulation-aware digital platform that replaces manual metering management with automated, auditable workflows.

## 5.2 SMART Objectives

| ID | Objective | Baseline | Target | Timeline |
| --- | --- | --- | --- | --- |
| OBJ-1 | Reduce regulatory fine exposure | ~$2.5M/year avg | > 40% risk reduction | 12 months post-deployment |
| OBJ-2 | Reduce manual metering effort | ~1,100 hrs/FPSO/yr | > 40% reduction | 12 months post-deployment |
| OBJ-3 | Ensure audit readiness | Days to produce evidence | < 1 hour (automated) | Upon M7 delivery |
| OBJ-4 | Provide real-time SLA visibility | 0% automated alerting | 100% with 48h warning | Upon M6 delivery |
| OBJ-5 | Centralize all metering data | Fragmented | 100% in single platform | Full deployment |
| OBJ-6 | Scale to full fleet | N/A | 12 FPSOs, no code changes | M11 as prerequisite |

## 5.3 PACE Alignment

| PACE Dimension | OKR | Annual Value (Fleet) |
| --- | --- | --- |
| Risk exposure reduction | > 40% reduction in regulatory fine risk | ~$1,000,000/year avoided |
| Manpower reallocation | > 40% reduction in manual metering hours | +4,000 hours / +$450,000/year |

# BUSINESS VALUE & DRIVERS

[Define why the initiative matters and what outcomes it must deliver, then specify how success will be proven. Capture business drivers and “so what” outcomes, set a North Star and supporting KPIs with baselines/targets and ownership, outlining value by release with expected impact and validation.]

## 6.1 Business Drivers

| ID | Driver | Outcome |
| --- | --- | --- |
| BV-1 | Regulatory compliance (ANP/INMETRO deadlines) | $35.8M historical exposure eliminated |
| BV-2 | Near-miss prevention | Shift from reactive to preventive; $1.48M 2025 exposure |
| BV-3 | Operational efficiency | +4,000 hrs / +$450K/year freed from manual work |
| BV-4 | Audit readiness | Evidence preparation: days to minutes |
| BV-5 | Fleet scalability (3 new FPSOs) | New units via configuration, no custom dev |

## 6.2 KPIs

| KPI | Baseline | Target | Owner |
| --- | --- | --- | --- |
| ANP fine exposure ($/year) | ~$2.5M/year | > 40% reduction | Metering Lead |
| Manual hours (hrs/FPSO/yr) | ~1,100 | < 660 | Metering Lead |
| SLA deadlines with early warning | 0% | 100% at 48h+ | Metering Engineer |
| Audit evidence prep time | Days | < 1 hour | Metering Analyst |
| FPSOs without code changes | 6 (legacy) | 12 (full fleet) | Product Owner |
| Data centralization | 0% | 100% | Product Owner |

## 6.3 Value by Release

| Phase | Modules | Impact | Validation |
| --- | --- | --- | --- |
| 1 - Foundation | M11, M12 | Digital hierarchy; role-based access | 12 FPSOs modeled; admin verified |
| 2 - Core Compliance | M1, M2, M3 | SLA tracking; calibration lifecycle | Zero missed deadlines (pilot) |
| 3 - Visibility | M6, M8, M9 | Proactive alerting; planning dashboard | 100% SLA alerts active |
| 4 - Integration | M4, M5, M7, M10 | IFS sync; ANP XML export | Evidence in < 1h; XML validated |

# BUSINESS INTERFACES

[Define every business-facing interface that provides inputs to or consumes outputs from the product/solution. For each interface, capture who owns it, what business event it supports, how information flows, and the service expectations, ensuring clear contracts.]

### IF-1 — IFS (CMMS)

Owner: IT / Maintenance Team

Business Event: Spare parts procurement linked to calibration planning (M2)

Input to MMT: Spare parts availability, procurement status

Output from MMT: Calibration-linked spare requirements

Service Expectations: ME must link IFS spare procurement to planned calibrations. Integration method TBD in Framing.

### IF-2 — Power BI

Owner: Metering Analyst / IT

Business Event: Management reporting, KPI dashboards

Output from MMT: Database/API connection to MMT data; 3 PBI reports

Service Expectations: PBI native files (.pbix) delivered. API endpoints stable and documented.

### IF-3 — ANP (Regulatory)

Owner: Metering Analyst

Business Event: Regulatory data export (XML), NFSM submission

Output from MMT: XML per Resolução nº 65/2014, offloading XML, NFSM reports, ZIP packages

Service Expectations: XML ANP-compliant. NFSM within 72 hours. Data retained 10+ years.

### IF-4 — Third-Party Cert Issuers

Owner: Metering Engineer

Business Event: Reception of calibration certificates from external labs

Input to MMT: XML and/or PDF certificate files

Output from MMT: Critical Analysis result; Uncertainty Calculation

Service Expectations: XML auto-populates certificate fields. CA performed automatically after import.

### IF-5 — Laboratory Vendors

Owner: Metering Engineer

Business Event: Reception of chemical analysis reports

Input to MMT: PDF lab reports

Output from MMT: Parsed parameters; CA validation; emergency sample on reproval

Service Expectations: Reports delivered within SLA per analysis type.

### IF-6 — Client (Petrobras, Shell)

Owner: Metering Lead

Business Event: Compliance reporting, audit evidence, contractual review

Output from MMT: Dashboards, audit packages (ZIP), certificates, UC reports, permanent URLs

Service Expectations: Documents accessible via permanent URLs with role-based access. PT and EN.

### IF-7 — Microsoft Planner (Optional)

Owner: Product Owner / IT

Business Event: Unified task planning

Input to MMT: Task completion status (if bidirectional)

Output from MMT: Planned activities pushed to Planner

Service Expectations: Optional, subject to SBM approval.

# BUSINESS CHALLENGES & INEFFICIENCIES

[Document the main issues, inefficiencies, or challenges faced by users or the business today. These pain points justify the need for change and will guide prioritization.]

| ID | Challenge | Impact |
| --- | --- | --- |
| CH-1 | No automated deadline tracking | $1.48M near-miss (2025); $2.5M/year avg in historical fines |
| CH-2 | Manual data consolidation offshore/onshore | ~1,100 hrs/FPSO/year of low-value work |
| CH-3 | Fragmented data (folders, email, tools) | No single source of truth; data inconsistencies |
| CH-4 | No systematic audit trail | Evidence takes days to reconstruct |
| CH-5 | No automated Critical Analysis | Risk of undetected anomalies; delayed reproval |
| CH-6 | Equipment traceability gaps | Compliance risk during ANP audits |
| CH-7 | No scalable onboarding model | Each new FPSO duplicates manual processes |
| CH-8 | No permanent hyperlinks / bilingual docs | Manual prep for client/regulator evidence |

# Data Sources & Dependencies

[This section identifies all data sources required for the solution to function as intended. Its purpose is to ensure early visibility of data dependencies, enable proactive planning of ingestion and integration activities, and involve the appropriate data and domain SMEs at the right stage of the delivery lifecycle.

For each data source, describe its origin, ownership, subject matter experts, availability, integration status, and criticality to the solution. This section must be reviewed and validated during the Business Readiness phase to avoid late-stage blockers related to data access, quality, or consistency.]

DS-1 (FPSO hierarchy) and DS-2 (equipment master data) represent the largest initial migration effort. A structured onboarding plan per FPSO should be defined.

| ID | Data Source | Owner / SME | Criticality |
| --- | --- | --- | --- |
| DS-1 | FPSO hierarchy and metering system config | ME / ML | High |
| DS-2 | Equipment master data (serial numbers, tags, specs) | MT / ME | High |
| DS-3 | Calibration certificates and UC reports (PDF/XML) | ME | High |
| DS-4 | Chemical analysis lab reports | ME | High |
| DS-5 | Spare parts and procurement status (IFS) | IT / Maintenance | Medium |
| DS-6 | Flow computer parameters and readings | MT | High |
| DS-7 | Holiday calendars (per FPSO / region) | ML / Admin | Medium |

# ASSUMPTIONS & DEPENDENCIES

[Capture all assumptions that underpin the requirements (e.g., data availability, resource access) and identify key risks and external dependencies (e.g., other teams, systems, or vendors) that may affect delivery.]

## 10.1 Assumptions

1. Data quality — Existing metering data is accurate enough for initial migration.

2. SME availability — Metering Team available throughout Framing, Design, and UAT.

3. Regulatory stability — ANP requirements stable during development.

4. Common hierarchy — All FPSOs share a common hierarchy structure.

5. Offshore connectivity — Internet sufficient for web-based access.

6. Lab report formats — Labs deliver in PDF/XML compatible with MMT.

7. Holiday calendars — Provided by SBM Operations for SLA calculations.

## 10.2 External Dependencies

| ID | Dependency | Risk if Delayed |
| --- | --- | --- |
| D-1 | IFS (CMMS) API access | M2 planning limited to manual spare tracking |
| D-2 | Product Owner with metering domain knowledge | Requirement ambiguity; delayed acceptance |
| D-3 | Dedicated engineer (100%) with metering background | Knowledge gaps; increased rework |
| D-4 | ANP XML schema specifications | M7 export cannot be validated |
| D-5 | SBM IT infrastructure (hosting, DB, network) | Deployment timeline at risk |

# CONSTRAINTS

[List any limiting factors such as regulatory requirements, technical standards, budget, timelines, or security restrictions that must be respected during product design and delivery.]

## 11.1 Regulatory

1. ANP compliance — Must comply with all reference documents in Section 2.

2. Data retention — All data stored and accessible for minimum 10 years.

3. NFSM timelines — Support submission within 72 hours of detection.

## 11.2 Technical

1. No hardcoded parameters — All parameters configurable by admin users.

2. Bilingual documents — Available in Portuguese and English.

3. English UI — Software interface language must be English.

4. Permanent hyperlinks — Every document has a permanent, shareable URL with access control.

5. API-first architecture — All functionalities via authenticated REST APIs.

## 11.3 Operational

1. Filter persistence — Filters stored per user and restored on subsequent access.

2. Shareable URLs — Each page has a unique link with filter state in URL.

3. Template approval — All document templates subject to SBM approval.

## 11.4 Contractual

1. Support period — 2 years of technical support and bug fixes after delivery.

2. Active development — 1 year post-delivery for functionality fixes.

3. Required deliverables — Detailed SRS, periodic reports, timeline, training material, user manual.

# BUSINESS & FUNCTIONAL REQUIREMENTS

[Specify what the product must do to meet business needs. Each requirement should describe an Epic, capability, or behaviour the solution must support. Use structured requirement statements (e.g., “The system shall…”) when possible.]

Requirements marked with [MVP] have been validated in the current development baseline.

## 12.1 Configuration Module (M11)

1. The system shall allow admin users to model the FPSO hierarchy: FPSO > Metering System > Meter Run > Instruments. [MVP]

2. The system shall support admin-configurable properties with name, description, unit of measure, and validation rules. [MVP]

3. The system shall allow creation/management of equipment types with configurable properties. [MVP]

4. The system shall allow configuration of frequencies and intervals per FPSO.

5. The system shall support creation of wells, users, holiday calendars, stock locations, report types, and traffic-light thresholds.

6. The system shall allow admin users to configure SLA parameters per analysis type, classification, and location. [MVP]

## 12.2 Equipment Registration and Installation (M1)

1. The system shall allow users to create serial numbers selecting equipment type and assigning tags. [MVP]

2. The system shall track all certificates issued for a serial number and all certificates related to a tag. [MVP]

3. The system shall log installation, removal, and replacement dates generating an Equipment Change Report.

4. The system shall allow searching equipment by serial number, specification, type, or tags. [MVP]

5. The system shall display equipment datasheets with full historical data. [MVP]

6. The system shall prompt the user to set up a calibration frequency when creating new equipment.

## 12.3 Metrological Confirmation (M2)

1. The system shall manage all steps: Planning > Execution > Seal Control > Certificate > CA > UC > FC Update > Closing.

2. The system shall allow ME to plan calibrations and link spare procurement from IFS.

3. The system shall support in-situ and ex-situ calibration modes with override values per Resolução nº 18/2014.

4. The system shall support temporary calibration dates with visual differentiation.

5. The system shall manage seal control: track seals, issue reports, maintain history.

6. The system shall support certificate issuance by SBM and by third parties (XML/PDF import).

7. The system shall perform automated Critical Analysis (CA) on certificates.

8. The system shall generate Uncertainty Calculations (UC), support UC import, and provide on-demand UC.

9. The system shall export certificates and UC reports in PDF and Excel, PT and EN.

## 12.4 Chemical Analysis (M3)

1. The system shall support three sampling categories: Oil/Gas, Daily Oil Sample, and Periodic Samples. [MVP]

2. The system shall track samples through an 11-step pipeline. [MVP]

3. The system shall dynamically skip steps based on sample location and type. [MVP]

4. The system shall apply SLA-based due dates using the configurable SLA Matrix. [MVP]

5. The system shall display dashboard cards with urgency indicators. [MVP]

6. The system shall support PDF lab report upload with automated parsing. [MVP]

7. The system shall perform automated CA on lab reports using 2-sigma checks. [MVP]

8. The system shall schedule emergency samples on reproval. [MVP]

9. The system shall auto-schedule the next periodic sample when collection is performed. [MVP]

## 12.5 Onshore Maintenance (M4)

1. The system shall manage maintenance activities at onshore facilities.

2. The system shall link maintenance records to serial numbers and certificates.

## 12.6 Synchronize Data (M5)

1. The system shall ingest data from IFS via API or scheduled synchronization. [MVP - structure ready]

2. The system shall maintain data consistency and generate alerts on sync failures. [MVP - structure ready]

## 12.7 Monitoring and Alerts (M6)

1. The system shall monitor flow computer configuration daily. [MVP - sampling alerts]

2. The system shall check alarm limits based on UC, operational/legal limits, and calibration data.

3. The system shall alert on parameters that should not change but did, and vice versa.

4. The system shall check document control gaps and alert when documents are overdue.

5. The system shall track calibration/inspection frequency and alert at configurable thresholds.

6. The system shall create sampling alerts for each step with configurable advance notice days.

7. The system shall alert when NFSM are open by month-end or exceed 240 hours.

8. The system shall check oil density and gas composition against latest approved lab reports.

## 12.8 Export Data (M7)

1. The system shall export all lists in Excel and PDF format. [MVP]

2. The system shall provide a selection window to choose FPSO, date interval, and file types. [MVP]

3. The system shall export a ZIP file with ANP-compliant folder structure.

## 12.9 Planning (M8)

1. The system shall provide calendar and list views with tab-based switching. [MVP]

2. The system shall group activities by expiration day with traffic-light color coding.

3. The system shall support task completion via popup with required fields.

4. The system shall allow filtering by FPSO, time period, and activity type.

5. The system shall export outstanding activities to Excel or PDF.

6. The system shall allow marking tasks as mitigated with attachments and new due dates.

## 12.10 Failure Notification - NFSM (M9)

1. The system shall support creation, editing, approval, and storage of NFSM. [MVP]

2. The system shall manage initial (up to 240h) and final NFSM types.

3. The system shall require ME approval for each failure notification.

4. The system shall export NFSM reports in PDF and Excel.

5. The system shall support configurable email distribution lists per FPSO.

6. The system shall store all data necessary to generate the ANP XML.

## 12.11 Historical Reports (M10)

1. The system shall allow upload with metadata: file, date, FPSO, and report type. [MVP]

2. The system shall support bulk upload of multiple files.

3. The system shall track who uploaded each file and when.

4. Each file may optionally be linked to an FPSO, metering system, or serial number.

## 12.12 User and Access Management (M12)

1. The system shall support role-based access control with at least three roles.

2. The system shall implement authentication with login/password and password recovery.

3. The system shall enforce access control per FPSO.

4. API access control shall follow the same rules as the web interface.

5. The system shall log all user actions for audit trail purposes.

# NON-FUNCTIONAL REQUIREMENTS

[Define quality attributes that are critical to product success but not tied to specific Epics. Examples include performance, scalability, security, usability, availability, compliance, and supportability.]

## 13.1 Usability

1. The system shall be fully web-based, accessible via standard browser.

2. The UI shall be intuitive, with logical navigation following the process flow.

3. Interface language shall be English. Generated documents available in PT and EN.

4. All screens shall load in under 10 seconds.

## 13.2 Performance and Scalability

1. The system shall support at least 10 simultaneous users.

2. The system shall scale across 12 FPSOs, 2,900+ instruments without degradation.

3. Data must be stored and accessible for minimum 10 years.

## 13.3 Security and Access Control

1. Admin shall create users with username, name, password, email, and company.

2. Admin shall create roles and configure read/write access per module and FPSO.

3. Each user may have one or more roles. API access follows web interface rules.

4. A "forgot my password" link shall be available.

5. All user actions logged in an immutable audit trail.

## 13.4 Availability and Reliability

1. The system shall be available 24/7 with planned maintenance windows.

2. Data backups performed regularly with documented recovery procedures.

3. The system shall handle offshore connectivity constraints gracefully.

## 13.5 Deployment and Testing

1. The system shall be deployed in phases, each consisting of one or more modules.

2. The contractor shall issue a UAT document with test cases and feedback form.

3. The solution shall be delivered incrementally for independent validation.

4. Module dependencies must be respected.

## 13.6 Compliance

1. The system shall comply with all reference documents in Section 2.

2. All document templates subject to SBM approval prior to deployment.

3. Every stored document shall have a permanent, shareable hyperlink with access control.