## Sheet1
# | MODULE | CLASSIFICATION | THE PROBLEM SOLVED BY THIS MODULE | HOW IT WORKS | INTER CONNECTIVITY [integration with other modules?] | SYSTEM INTEGRATION [external integration?] | APPROVAL REQUIRED? | NOTIFICATION REQUIRED? | REPORT REQUIRED? | COMMENTS (IF APPLICABLE) | USER STORY (AS A USER...) | FEATURE
M1 | Managing Equipment | CORE | Manage the list of equipments tags and serial numbers on each FPSO, where they are installed and the status of each metering system. | Keep track of all equipment ever installed on the metering system, correlating the physical element serial number with the tag for the place where it is installed. Tracking is done for the entire lifetime of a serial number and for a tag, registering all changes. It also has the tag structure for each unit. FPSO and instruments structure set on this module as well as system status (approved by ANP, not approved, decomissioned, comissioning, unavailable etc) will be the basis for the others to work. | ALL | [ ] PI data server [ x ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | YES | YES | How often equipment tag are replaced by another? Tag system is equal for all FPSOs? | US11: I wish to to access the equipment information tree with basin > fpso > module > equipment breakdown. US12: I wish to handle information considering SBM tag system for equipment, fpso, modules. US13: I wish to search for specific tag, serial number, status, etc. | A111: Propose ingest information breakdown and populate information tree similar to inspiration mockup. A121: Propose use tag system logic, same as used in SBM for each vessel. A131: Propose implement search feature by field: [tag] or [serial number] or [status - approved, not approved, decomissioned].
M2 | Metrological Confirmation | CORE | Managing calibration, inspection and tests according to metering regulations as well as issuing all required certificates, reports and calculations | User can manage the calibration campaign, status, localization, responsibles and deadlines. User can manage: edit, create, delete, close campaigns. | M1, M5 | [ x ] PI data server [ x ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | YES | YES | YES |  | US21: I wish to manage calibration campaign scope of work. US22: I wish to create calibration campaigns and follow up until completed. US23: I wish to overview the general status for calibration campaign by: basin > fpso > module > equipment. US24: I wish to inspect, selected and report calibration campaign status. | A211: Propose list of calibration campaign organized by logicla parts: types of equipment, criticality, fpso module, type of service, etc. A221: Propose add new calibration feature, screen with easy friendly field for information selection/completion. A231: Propose overview dashboard with all calibration information grouped/compiled and able to be inspected in one place. A241: Propose export calibration campaign information based on user inputs.
M3 | Chemical Analysis | CORE | Managing the entire process for gas and oil sampling related to metering with all its deadlines, approval and implementation steps including registering evidences and location of each sample cylinder | User can manage the sampling campaign, status, localization, responsibles and deadlines. User can manage: edit, create, delete, close campaigns. | M1 | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | YES | YES | YES |  | US21: I wish to manage chemical analysis scope of work. US22: I wish to create chemical analysis and follow up until completed. US23: I wish to overview the general status for chemical analysis by: basin > fpso > module > equipment. | A211: Propose list of chemical analysis organized by logicla parts: types of equipment, criticality, fpso module, type of service, etc. A221: Propose add new chemical analysis feature, screen with easy friendly field for information selection/completion. A231: Propose overview dashboard with all chemical analysis information grouped/compiled and able to be inspected in one place.
M4 | Onshore Maintenance | CORE | Controling location for each equipment sent onshore for calibration, repair or long term storage | User can manage all equipment information when on repair, such as, supplier information, timestamp, status, localization, expected date for retrieval, etc. | M1 | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | NO | YES
M5 | Synchronization Data | SUPPORT | Read live data from offshore systems and various existing report so MMT is the central repository of metering data | Data connection between metering tool and SBM systems. Note metering data comes from multiples data access points, including offshore servers. | - | [ x ] PI data server [ x ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | NO | NO
M6 | Monitoring & Alerts | SUPPORT | Automatically monitor and alerts metering engineer for any deviation or critical activity on the metering system | Manage thresholds, upper limits, lower limits, deadline and general alerts related to metering. User can manage: edit, create, delete, close alerts. | ALL | [ x ] PI data server [ x ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | YES | YES
M7 | Export Data | SUPPORT | Export all necessary data and reports required for audit purposes | Based on audit reports, the user can pre-select certain types of information to be compiled and printed in a .pdf with timestamp and responsible. | ALL | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | NO | YES
M8 | Planning | CORE | Single place for the metering engineer to check and plan all outstanding activities on the metering system | Schedule view of upcoming tasks (timeline, calendar, list by week, month, quarter). User can manage: edit, create, delete, close events. | ALL | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | YES | YES
M9 | Failure Notification | CORE | Manage metering failures accordoing to ANP Resolution 18 | User can setup failure definition as per ANP resolution standards/criteria, or custom failure for specific equipment, fpso, etc. | M1, M2 | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | YES | YES | YES
M10 | Historical Report | SUPPORT | A module to store generic data not detailed on any other modules, but are required to be kept safe for audit purposes | Information repository for past or closed events, can be filtered by time (week, month, quarter, year), type (equipment, sampling, fpso, module), events (specific alerts and/or failures). | M1 | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | NO | YES
M11 | Configurations | SUPPORT | Give software flexibility so metering engineers can adjust configurations such as calibration frequencies, multiple drop down options, etc. | No parameters will be hard coded on the software. Every metering system name, description, frequencies on each step, etc., shall be configured on this module. | ALL | [ ] PI data server [ ] IFS [ ] eDR [ ] OTHER, specify [ ] NA | NO | NO | NO

## SETTINGS
CLASSIFICATION | QUESTION
CORE | YES
SUPPORT | NO